Total Capacity Required Capacity Required

Model Quantity Est. Capacity

Condensing Unit Condensing Unit Model \* CU Qty Condensing Unit Capacity

Unit Cooler 1 Unit Cooler Model 1 \* UC Qty UC Capacity

Unit Cooler 2 Unit Cooler Model 2 \* UC Qty UC Capacity

Unit Cooler 3 Unit Cooler Model 3 \* UC Qty UC Capacity

Custom Unit Cooler Custom Unit Cooler Model UC Qty UC Capacity

\* - DOE Compliant Balance Balance

Compressor Type Compressor Type

Compressors Per Unit Compressors Per Unit

Circuits Per Unit Circuits Per Unit

Refrigerant Refrigerant

Suction Line Loss Suction Line Loss

Adjust Capacity for Run Time Adjust Capacity Run Time Run Time

Altitude Altitude

\*\* Information is PER SYSTEM

Capacity indicated is based upon the line loss shown. Field piping, line sizing, component selection and layout must correlate to the line loss indicated for this capacity to be valid.